## OMM
Div. | Item | Description of Material | Unit | Quantity | Unit Cost | Total Cost
| No. |  |  |  | (US$) | (US$)
BILL NO. 03 - BILL OF QUANTITIES
16 | - | ELECTRICAL
Section 16120 - Conductors and Cables
Cu/PVC/PVC
Supply, install and connect the following cables, PVC insulated, unarmored, PVC sheathed and of copper conductors, complete including accessories, connectors, lugs, supports, clamps as specified and shown on drawings.
| 1 | 4x25 | MR | 125
| 2 | 4x120 | MR | 40
Earth Wires
Supply, install and connect the following cables, PVC insulated, copper conductors, complete including accessories, connectors, lugs, supports, clamps as specified and shown on drawings.
| 3 | 1x16 | MR | 125
| 4 | 1x70 | MR | 40
Section 16170-Circuit and Motor Disconnects
| B | Supply, install and connect the following isolating switches (disconnects) complete excluding cabling/conduiting raceways works back to respective panelboards and all related accessories, as specified and shown on drawings
| 5 | Isolating Switch rated 4x50A, for VRV-retail,Weatherproof | No | 1
| 6 | Isolating Switch rated 4x63A, for Retail, Weatherproof | No | 1
Section 16425 - Main Distribution Board
Supply, install and connect the following main distribution panelboards, complete including automatic transfer switches (where indicated), surge arresters, protective devices, synchro system (where indicated), measuring devices, contactors, gate ways to connect with BMS auxiliaries, and all related accessories as specified and shown on drawings.
| 7 | EMDB-2B | No | 1
| 8 | EDP-2B/02 | No | 1
Section 16495 - Transfer Switches
Supply, install and connect the following Automatic Transfer Switches, complete including protective devices, surge arresters, measuring devices, contactors, connectors, auxiliaries, and all related accessories as specified and shown on drawings
| 9 | SMDP-ATS/2B | No | 1
|  | TOTAL ELECTRICAL |  |  |  | 0

## ADD
Proj: | #REF! |  | Date: | #REF! | Proj. Type: | #REF!
Job: | #REF! |  | Sheet: | ADD | Activity Type: | #REF!
Scp: | Breakdown of a Lump Sum |  | Rev: | 00 | Location: | #REF!
Div: | #REF! |  | Phase: | Construction | Built-up Area:
BILL NO. 08: BILL OF ADDITIONS
Div. | Item | Description of Material | Unit | Quantity | Unit Cost | Total Cost
| No. |  |  |  | (US$) | (US$)
BILL NO. 03 - BILL OF QUANTITIES
Section 13851 - Fire Alarm
Supply, install, connect and test, complete working system including power supply, batteries, surge arresters, conduits, boxes, special conductors, junction, derivation and outlet boxes, connectors, fittings interface with BMS and all related accessories, as specified and shown on drawings.
| 1 | Smoke Detector | No | 2
| 2 | Heat detector | No | 2
16 | - | ELECTRICAL
Section 16120 - Conductors and Cables
Cu/PVC/PVC
Supply, install and connect the following cables, PVC insulated, unarmored, PVC sheathed and of copper conductors, complete including accessories, connectors, lugs, supports, clamps as specified and shown on drawings.
| 1 | 4x70 | MR | 125
| 2 | 4x185 | MR | 40
Earth Wires
Supply, install and connect the following cables, PVC insulated, copper conductors, complete including accessories, connectors, lugs, supports, clamps as specified and shown on drawings.
| 3 | 1x35 | MR | 125
| 4 | 1x95 | MR | 40
Section 16135 - Electrical Cabinets, Boxes and Fittings
Supply, install and connect the following outlet boxes, complete including cabling/conduiting works back to respective panelboards and all related accessories, as specified and shown on drawings.
| 5 | Ceiling mounted switched electric outlet, For EWH-1 rated 2x16A ,Weatherproof. | No | 4
| 6 | Wall mounted electric outlet, For irrigation controller rated 2x16A ,Weatherproof, with the respective outlets | No | 1
LIGHT POINT
Lighting points materials, supplied, installed, connected complete including conduits, conduit accessories and supports, junction, derivation and outlet boxes, conductors, connectors and all related accessories, as specified and shown on drawings
| 7 | Ceiling/wall light point (Normal) | No | 4
Section 16170-Circuit and Motor Disconnects
| B | Supply, install and connect the following isolating switches (disconnects) complete excluding cabling/conduiting raceways works back to respective panelboards and all related accessories, as specified and shown on drawings
| 8 | Isolating Switch rated 4x63A, for VRV-retail,Weatherproof | No | 1
| 9 | Isolating Switch rated 4x150A, for Retail, Weatherproof | No | 1
Section 16425 - Main Distribution Board
Supply, install and connect the following main distribution panelboards, complete including automatic transfer switches (where indicated), surge arresters, protective devices, synchro system (where indicated), measuring devices, contactors, gate ways to connect with BMS auxiliaries, and all related accessories as specified and shown on drawings.
| 10 | EMDB-2B | No | 1
| 11 | EDP-2B/02 | No | 1
Section 16495 - Transfer Switches
Supply, install and connect the following Automatic Transfer Switches, complete including protective devices, surge arresters, measuring devices, contactors, connectors, auxiliaries, and all related accessories as specified and shown on drawings
| 12 | SMDP-ATS/2B | No | 1
Section 16511 - Interior Lighting
Supply, install and connect the following lighting fixtures, complete including control gear, lamps, supports, mounting, brackets and all related accessories, as specified and shown on drawings.
| 13 | Type CC1 | No | 4
|  | TOTAL ELECTRICAL |  |  |  | 0